## Aeration sites
Contact info | Site location | Canal # | Link to detailed description | Canal depth at site | Date Installed | Capacity | bubblers (#) | Total Cost of Equip | Estimated monthly cost | DO - Before | DO - After | Bottom visability - before | Bottom visability - after three months | Bottom visability - after six months | Fish - before | Fish - after three months | Fish - after six months | Hull / dock growth - before | Hull / dock growth - after three months | Hull / dock growth - after six months
Park Davis | 27366 Cayman Lane | 3 | [7 empty] | Not Avail | Not Avail
John Miller | 27486 Martinique Lane | 13 |  | 4-6 feet | May 2020 | 5.3 CFM | 4 - 8 inch micro bubble diffusers | 373 | 9 | Not avail | Not Avail | Fair - murky with enough occasional clarity to make out outline of bottom | good to excellent- can to see bottom topography and schooling fish | excellent- most days can clearly see bottom and schooling fish | poor- occasionally would see mullet near surface and a few minnows | good- dozens of bait fish and mullet | Plentiful, hundreds of bait fish, dozens of mullet, some small barracuda | none | Moderate - barnacles, mussels, algae, sponge growing on about 50% of surfaces | extreme, lots of small mussels, lots of algae
Bill Murchie | 27419 Jamaica | 8 |  | 3-6 feet | Dec 2020 | 2 CFM@1 PSI | 2 | 412 | 4.5 | Not Avail | Not Avail | poor (2-3 feet) | good to excellent (3-4 feet) |  | Not Avail | Not Avail |  | Not Avail | Not Avail
Michael & Debra Kennedy | 823 Indies Rd | main |  | 3-5 feet | Apr 2021 | 5.6 CFM | 4 | 349 | 11 | 6.4 |  | poor to good |  |  | fair |  |  | limited
Don & Jane Tiedeman | 27363 St Martin | 11 |  | 7 feet | Jun 2022 | 3.5 CFM |  | < $400 | not noticeable |  |  | poor |  | good | poor | fair
Dave & Jennifer Hamel | 420 W Indies | 11 |  | 4-6 feet | Apr 2022 | 5.3 CFM | 8 inch diffusers | 329 | negligible |  |  | fair | good | excellent | fair | good | plentiful | sparse | low | moderate
Bottom visability ratings |  |  |  | Excellent - can clearly see detail on bottom
Good - can see bottom, but detail is not clear
Fair - can barely discern bottom
Poor - cannot see bottom
Fish count ratings |  |  |  | Plentiful - can see 5 or more species of fish at any time
Good - can see 5 or more species of fish at least once per day
Fair - can see snapper, parrot fish occasionally
Poor - rarely see fish other than young barracuda, mullett, mollys
Hull / Dock growth ratings |  |  |  | Extreme - barnacles, mussles, algae, sponge quickly growing on most surfaces
Moderate - barnacles, mussles, algae, sponge growing on about 50% of surfaces
Limited - barnacles, mussles, algae, sponge slowly growing on about 20% of surfaces
Sparse - barnacles, mussles, algae, sponge growthe can be seen on a few surfaces
None - no growth can be seen

## canal numbers
Street Names | Canal #
West Indies Dr/Trinidad
| 16 | The chart is oriented North streets toward the top and South streets toward the bottom. Canals are number from the South to North.
Antigua Ln
15
Guadaloupe Ln
14
Martinique Ln
| 13 | If the the street address is an odd number, follow the green line at the top to the right to discover the canal number. If the address is even number follow the green line to the bottom.
St Vincent Ln
12
Barbados Ln
11
St Martin Ln
10
St Lucie Ln
9
Tobago Ln
8
Jamacia Ln
7
St Croix Ln
6
Anguila Ln
5
Barbuda Ln
4
Cayman Ln
3
Haiti Ln
2
West Indies Dr
1
Dominica Ln